## SWMS
1. Choose the type of SWMS | [5 empty] | Simplified Storm Water Management System Notes
2 |  |  | STORM WATER MANAGEMENT SYSTEM (SWMS) PIPE LAYOUT & SYSTEM DATA |  |  | A simplified system is rectangular with two manifolds (see sketch below).
2. Type in below the total amount of storage volume required (ft³) |  |  |  | SWMS Type | Retention | Retention implies groundwater infiltration using fully perforated pipe.
|  |  | Storage Volume Required (ft3) |  | 0
| Corrugated HDPE Pipe |  | Pipe Diameter (in) |  | 12 | Entire SWMS of the same size pipe (manifolds/laterals of same diameter).
0 |  |  | No. of Laterals |  | 8
|  |  |  | Pipe ID (ft) | 1
|  |  |  | Pipe OD (ft) | 1.2083
3. Choose pipe diameter (in) |  | Cross-Sectional Area of Pipe (ft2) |  |  | 0.7854 | Cross-sectional area (ft2) is the same as the volume per foot of pipe (ft3/ft).
1 |  |  | Stub Spacing (ft) |  | 0.75 | Clear distance between sides of pipe.
|  | Stone Storage Above Pipe (ft) |  |  | 0.5 | As available for infiltration systems.
| 6-in bedding | backfill 6-in above pipe |  | Bedding (ft) | 0.5 | Bedding used as part of the storage depth for retention systems.
4. Choose the number of laterals |  |  | Storage Depth (ft) |  | 2.2083 | Bedding thickness + Pipe OD + storage above pipe.
8 |  |  | Backfill Void Ratio |  | 40% | 40% porosity for washed, open graded, angular aggregate.
| 2.2083 |  | Manifold Length (ft) |  | 14.9167
|  |  | Lateral Length (ft) |  | -3.6298 | Length of each lateral between manifolds.
5. Choose bedding depth (ft) |  |  | Total Pipe Length (ft) |  | 0.7947 | Theoretical length of pipe needed for the entire SWMS (manifolds and laterals).
0.5 | 0.80208 | 0.75 | Excavation Width (ft) |  | 16.5208 | Includes the AASHTO minimum distance between pipe and trench wall.
|  | above dimensions in feet | Excavation Length (ft) |  | 0.391 | Includes the AASHTO minimum distance between pipe and trench wall.
6. Choose amount of stone storage above pipe (ft) |  |  | Stone Required (yd3) |  | 0.57501 | Total amount of stone if backfilling to a height of 1-ft above top of pipe (recommended).
|  | Pipe Storage Volume Provided (ft3) |  |  | 0.62416
0.5 |  | Stone Storage Volume Provided (ft3) |  |  | 5.4564 | See storage depth note above.
|  |  | Total Volume Provided (ft3) |  | 6.0806
| 12 | -in Diameter Corrugated HDPE |  |  | 8 | Laterals | Excavation Footprint | 6.4597 | sf
| (Fully Perforated Retention System) | [5 empty] | System Footprint | -18.0963 | sf
System Length (ft)
-1.2132
| 16.5208 | [7 empty] | 14.9167
| Excavation | [7 empty] | System
| Width (ft) | [7 empty] | Width (ft)
0.391
Excavation Length (ft)

## Data (hidden)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
| Pipe Diameter |  |  |  | Stub | Area | Minimum | Minimum Spacing (ft) |  | nom | stub | stub spacing |  | stub
| ID (in) | ID (ft) | OD (in) | OD (ft) | Spacing (ft) | (sf) | Cover (ft) | ASTM | AASHTO | dia | spacing | ft | in | spacing (ft)
1 | 12 | 1 | 14.5 | 1.2083 | 0.75 | 0.7854 | 1 | 2 | 1 | 12 | 0.75' | 0 | 9 | 0.75
2 | 15 | 1.25 | 17.5 | 1.4583 | 1.125 | 1.2272 | 1 | 2 | 1 | 15 | 1' - 1½" | 1 | 1.5 | 1.125
3 | 18 | 1.5 | 21.5 | 1.7917 | 1.17 | 1.7671 | 1 | 2 | 1 | 18 | 1' - 2″ | 1 | 2 | 1.1667
4 | 24 | 2 | 28 | 2.3333 | 1.6 | 3.1416 | 1 | 2 | 1 | 24 | 1' - 7¼″ | 1 | 7.25 | 1.6042
5 | 30 | 2.5 | 34.5 | 2.875 | 1.79 | 4.9087 | 1 | 2 | 1.25 | 30 | 1' - 9½″ | 1 | 9.5 | 1.7917
6 | 36 | 3 | 41 | 3.4167 | 1.92 | 7.0686 | 1 | 2 | 1.5 | 36 | 1' - 11″ | 1 | 11 | 1.9167
7 | 42 | 3.5 | 47.5 | 3.9583 | 2.27 | 9.6211 | 1 | 2 | 1.75 | 42 | 2' - 3¼″ | 2 | 3.25 | 2.2708
8 | 48 | 4 | 54.5 | 4.5417 | 1.69 | 12.5664 | 1 | 2 | 2 | 48 | 1' - 8¼″ | 1 | 8.25 | 1.6875
9 | 60 | 5 | 66.9 | 5.575 | 1.9375 | 19.635 | 1 | 2.5 | 2.5 | 60 | 2' - 3¼″ | 2 | 3.25 | 2.2708
10
11 |  | 1 | Detention |  | Bedding
12 |  | 2 | Retention |  | Depth (ft)
13 |  |  |  |  | 0
14 |  |  |  |  | 0.33
15 |  |  |  |  | 0.5
16 |  |  |  |  | 0.75
17 |  |  |  |  | 1
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38